## Slide 1: 802.24 Vertical Applications TAG
November 2016 Meeting
San Antonio, TX, USA

## Slide 2: 802.24 Overview
Officers
  TAG Chair: Tim Godfrey
  Secretary & TAG Vice Chair: Ben Rolfe
Task Groups
  802.24.1 Smart Grid TG Tim Godfrey
  802.24.2 IoT TG Chris DiMinico
36 Voting Members
  Agenda: 24-16-0018-00-0000
Meetings for the Week
  Monday PM2
  Tuesday PM2
  Wednesday PM2 (Joint with 802.1 TSN)
Manual attendance tracking for 802.1 & 802.3 members

## Slide 3: Agenda - 24-16-0033-00-0000

## Slide 4: Guidelines for IEEE-SA Meetings
All IEEE-SA standards meetings shall be conducted in compliance with all applicable laws, including antitrust and competition laws.
Don’t discuss the interpretation, validity, or essentiality of patents/patent claims.
Don’t discuss specific license rates, terms, or conditions.
  Relative costs, including licensing costs of essential patent claims, of different technical approaches may be discussed in standards development meetings.
    Technical considerations remain primary focus
Don’t discuss or engage in the fixing of product prices, allocation of customers, or division of sales markets.
Don’t discuss the status or substance of ongoing or threatened litigation.
Don’t be silent if inappropriate topics are discussed… do formally object.
---------------------------------------------------------------
If you have questions, contact the IEEE-SA Standards Board Patent Committee Administrator at patcom@ieee.org or visit http://standards.ieee.org/about/sasb/patcom/index.html
See IEEE-SA Standards Board Operations Manual, clause 5.3.10 and “Promoting Competition and Innovation: What You Need to Know about the IEEE Standards Association's Antitrust and Competition Policy” for more details.
This slide set is available at https://development.standards.ieee.org/myproject/Public/mytools/mob/preparslides.ppt

## Slide 5: Administration
Attendance take on IMAT
  Reciprocal rights for most WGs
Web page
  http://www.ieee802.org/24
Mailing list
  stds-802-24@listserv.ieee.org
  802-24-voters@listserv.ieee.org (voters list)
Document archive
  http://mentor.ieee.org/802.24/documents
IEEE 802 announcement reflector, stds-802-all@listserv.ieee.org
  Send email to listserv@listserv.ieee.org with no subject and with the
  following 2 lines appearing first in the body of the message
Subscribe stds-802-all
end

## Slide 6: Monday: 802.24 TAG
Approve September minutes
  24-16-00034-00-0000
TAG Action Items:
  None

## Slide 7: Note: Evening session on 802.1 / TSN
No 802 tutorials scheduled this session
802.1 is conducting a “newcomers” session on 802.1 and TSN.
  Bowie A – 2nd Floor 18:30
Relevant in context of white paper development

## Slide 8: Monday 802.24.2 IoT TG

## Slide 9: Monday: 802.24.2
802.24.2 Liaison Coordinator's Report
  Wael Diab
IIC Liaison Report
Any new liaison requests

## Slide 10: 802.24.2
P2413 Liaison Report
  Ludwig Winkel
“Thin draft” to be released as soon as possible.
  ISO JTC1 WG10 is also developing an IoT document
  Thin draft provides an opportunity for collaboration
  Expected in 1Q 2017
Relationship to 24.2 IoT White Paper
  Can be use to explain to the 802 community how 802 fits into the overall IoT architecture

## Slide 11: 802.24.2
Review and plan IoT white paper development
  Chris DiMinico

## Slide 12: 802.24.2
Further discussion on Single Pair Ethernet white paper
  Current project in 802.3 that addresses wired IoT connectivity for sensors
  Presentation in document <>

## Slide 13: Tuesday 802.24.1
Smart Grid TG

## Slide 14: ITU and Radio Regulatory Items
Item 1: Question 236 Draft revision of Report ITU-R SM.2351-0
  Complete
Item 2: Potential follow up on “beam forming” wireless power transfer at 2450 MHz.
  No action needed.
Any other items from regulatory?
  Including coexistence of license exempt technologies with licensed services.
    60 GHz bands not of concern currently
  802.24 can liaison with 802.18 in reviewing document and forming a response.
No regulatory items related to 802.24 currently known.

## Slide 15: Action Items
Completing Sub GHz white paper:
  Intro section on range (Ben) (done)
  Regulatory section (John Notor) (done)

## Slide 16: Sub 1 GHz White Paper
Open Areas:
  Sub-1GHz Applications Done
  Need text or a reference to external sources for pros and cons of mesh vs repeater Done

## Slide 17: Discussion on white paper
Comments from September meeting:
  Intended audience – add text to clarify (done)
  Possibility to link this to IoT technologies (do this in the IoT white paper from 802.24.2)
    Lay out the longer term strategy for these technologies and the role of IEEE 802.
    Define ecosystem of devices, services, and standards
Actions
  Two sections (range, regulatory) to be provided
  Complete contributors list (message to reflector)
Latest draft prior to Nov meeting 802.24-15-0029r11

## Slide 18: Update of PAP2 Wireless Matrix
History:
  802 Smart Grid Ad Hoc (pre-802.24)
  https://mentor.ieee.org/802.24/dcn/12/sg-12-0004-01-00sg-pap2-discussion.pptx
  Draft - release 2 of NISTIR 7761 2013-07-12_sgip-pap02wg_00009_pap2_v2 802.24-13-0028r0
  Latest version 802.24-13-0021r1

## Slide 19: Discussion on Wireless Matrix
How to take the updated result and distribute.
We need to establish a plan to distribute and propagate the update, and replace older versions
802.24 can forward updates to SGIP, and request inclusion updated COS
Focus on updating the spreadsheet, and then align with ITU Q236.
  3GPP has update the table for GSM and LTE into their response to question 236
  Farroukh will check into which document was provided by 3GPP. Document to WP1a (under review). On Smart Grid.
We cannot update non-802 materials for a contribution to SGIP.
We have already submitted the 802 information to ITU.
Group consensus is to pursue an update to ITU, in the style of the 3GPP revision in document SP-160507_SMART_GRID.doc.
There is no urgency to initiate an effort within SGIP for NISTIR 7761 at this time.
  Requires external coordination beyond the scope of 802.24

## Slide 20: Update Plan
Identify most recent version of matrix
Assess gaps and errors
Assign owners for updating (in coordination with WGs)
  802.16 column
    Tim Godfrey, Harry Bims. Remove 16m, add 16s
  802.11ah – need reviewer (Yongho?)
  802.15.4 column (Ruben Salazar)
    Need to review top data rates (802.15.4m)
    Add new frequency bands (15.4-2015, 4u, and 4v)
  802.22 – ask Apurva if he wants to contribute a column
Any drafts listed in matrix need to be publically available.

## Slide 21: Publicizing White Paper Releases
Press Releases
  Standards association newsletter
  External press releases
  Emulate what 802.1, 802.3 are doing
  External publications, conferences, etc
Liaison reports to WGs
  Include relevant details from external liaisons
  Expand liaisons to 802.1 and 802.3

## Slide 22: Wednesday

## Slide 23: Wednesday
802.24.2 Liaison Update: Wael
  To be posted to reflector

## Slide 24: Wednesday 802.24.1 Smart Grid TG

## Slide 25: Wednesday Items
P2030.5 Liaison Update (Bob Heile)
  Completed comment resolutions – stuck on editing – getting outside expertise to help.
  Held a P2030.5 Symposium in CA, including regulators from HI, CA, and BC.
  Finding traction in managing DER (smart inverters and EV charging).
  CPUC has mandated the use of P2030.5 as default. HI and Korea following.
  IEC PC118 met last month. Considering adopting P2030.5 under dual-logo program. Will move forward to submit P2030.5 as an adopted standard in IEC.
Approve Sub 1 GHz white paper
  24-15-0029r12
  Motion to approve document 24-16-0036r0 for release.
    Moved Apurva
    Second Bob Heile
    Approved with unanimous consent
Contribution to ITU SG20 on behalf of 802.15 (Pat Kinney)
802.24.2 Liaison Update (Wael not present).
  Request to post to 802.24 reflector.
Closing / action items
Adjourn to 802.1 for TSN discussion 5:00
  Texas F

## Slide 26: 802.24 TAG closing
Wireless Matrix Update Topic
  Further updating standards for Q 236. Our last submission was accepted without changes. It was not on November agenda, and not an open issue that needs action. There is no current opportunity to update.
  Assuming SGIP Study Group is formed for NISTIR 7761 update, we will provide updated matrix for 802 standards.
  Matrix Update assignments to be made upon confirmation of need.
Capture action Items from this meeting
  Forward Link to 802.1 TSN introduction.
Any New Business?
Adjourn

## Slide 27: 802.24 White paper on TSN
Ethernet operation to provide time bounded or deterministic services.
How can this be applied in utility applications?
  Substation networks
  Interconnection between LAN and WAN
The requirement comes from specific applications:
  Starting point was Audio/Video, and industrial automation
  Now the TSN capability is application agnostic
  Automotive is an emerging application – replace CAN, Flexray, etc.
  There is also ring topology for redundancy
Questions:
  Is utility protection application considered for TSN?
  Today there is some use of proprietary real-time Ethernet variants.
  GOOSE protocols
  Synchrophasor applications

## Slide 28: TSN Development – July 2016 Initiation
In July, 802.24 had a joint meeting with 802.1’s TSN TG to explore application of Time Sensitive Networks for utility applications.
Review Presentation to 802.1 in document 802.24-16-0022r0
  Requested action was to Establish liaison with IEEE PES Power Systems Relay Committee (Communications Subcommittee) and the Substations Committee (SCADA Subcommittee)
Joint liaison request developed with 802.1
  Document 802.24-16-0023r0
  Sent to PES chairs

## Slide 29: Update for November
The PES PSRC and Substation SCC have been reorganized and will become the PSCC (Power Systems Communications and Cybersecurity) committee. (effective Jan 2017)
  We should not expect to receive any official response to our Liaison Request letter until the new PSCC Committee meets in 2017.
However, the PES leadership that was present at ISGT expressed interest in collaboration.
  Chair: Mike Dood (Schweitzer Engineering Laboratories)
  Vice Chair: Ken Fodero (Schweitzer Engineering Laboratories)
  Secretary: Craig Preuss (Black and Veatch)
  Past Chair: Dan Nordell (Xcel Energy)

## Slide 30: Plans for TSN development in Nov
TSN will be specified in 61850 through IEC.
  IPV6 is also being adopted into 61850
  OPC, ODBA are adopting TSN (and also use 61850)
Key points the white paper
  Describe how TSN works
  Understand IEC 61850 activities and relationships
  How standardized APIs are integrated into 61850
  802.1Qbu, 802.3br, 802.1Qbv, 802.1Qca.
  802.1Qca, Qcb, Qch, Qci, Qcn, Qcr,
  Relationship to IETF DETNET
  What is the opportunity for wireless standards to leverage? DETNET could take advantage.

## Slide 31: Joint Session with 802.1 TSN
Wednesday PM2 after 802.24 closing
Actions
  Start an email discussion on 802.24 reflector and 802.1 reflector (CC both)
  Plan on another joint session in Jan 2017 (Atlanta)
  Request Liaison response from PES PSRC committee

## Slide 33: Future Opportunities Tracking (1)
802.24 white paper on IoT and P2413?
  Maybe more towards completion of P2413?
  Agnostic to underlying communications, but applicable to all 802 standards.
  Highlight the relationship between P2413 and 802 standards.

## Slide 34: Future Opportunities Tracking (2)
802.15.12 ULI
  Eventually, we can explain how it relates to the rest of 802, and better integration. Well defined ways of integrating.
  Take this up when there is a draft
802.15.4s SMR – spectrum management resources
  Can 802.24 provide an input with respect to Smart Grid or IoT?
  IEC 65C WG 17 dealing with coexistence management and spectrum policy
  ETSI TCRRS reconfigurable radio systems
  ETSI TCERM WG 41 – defining a central coordination point to handle spectrum.
    Sharing and increasing coexistence and providing better QoS
Coordinate with 802.22.3
Action Plan:
  Coordinate with ULI initiative
  4s resource management is defined, but now how they are used
  White paper could cover how adaptation and resource management are accomplished.
  Including use of metrics for management.

## Slide 35: Future Opportunities Tracking (3)
Are there any new utility industry activities or organizations that could benefit from a liaison to 802.24?
  Useful Output: Identify the use cases that the standards serve, and provide them to the industry.
    That can then define who is an appropriate liaison
  Need to educate and inform liaisons to gather needs and requirements with respect to IEEE 802 projects. Identify the tools we have available, and present the available toolbox.

## Slide 36: Other Future Opportunities
Monitor the LPWAN IG in 802.15 to see where it goes (and links to IETF)

## Slide 37: Adjourn