|  |  |
| --- | --- |
| Project | **Specification of Sensor Interface for Cyber and Physical World**  <<https://sagroups.ieee.org/2888/> **>** |
| Title | **Data formats for additional environment-related sensors** |
| DCN | **2888-21-0078-02-0001** |
| Date Submitted | **Oct 13th, 2021** |
| Source(s) | Tai-Gil Kwon tgkwon@keti.re.kr (Korea Electronics Technology Institute),  Changseok Yoon csyoon@keti.re.kr (Korea Electronics Technology Institute),  Tae-Beom Lim tblim@keti.re.kr (Korea Electronics Technology Institute),  Kwanghyun Ro [khrho@hansung.ac.kr (Hansung](mailto:khrho@hansung.ac.kr%20(Hansung) University) |
| Re: |  |
| Abstract | This contribution proposes syntaxes, semantics, and examples for representing environment- related sensor information in the physical world in a standardized data format. |
| Purpose | To start discussion on purpose of the standard |
| Notice | This document has been prepared to assist the IEEE 2888 Working Group. It is offered as a basis for discussion and is not binding on the contributing individual(s) or organization(s). The material in this document is subject to change in form and content after further study. The contributor(s) reserve(s) the right to add, amend or withdraw material contained herein. |
| Release | The contributor grants a free, irrevocable license to the IEEE to incorporate material contained in this contribution, and any modifications thereof, in the creation of an IEEE Standards publication; to copyright in the IEEE’s name any IEEE Standards publication even though it may include portions of this contribution; and at the IEEE’s sole discretion to permit others to reproduce in whole or in part the resulting IEEE Standards publication. The contributor also acknowledges and accepts that IEEE 2888 may make this contribution public. |
| Patent Policy | The contributor is familiar with IEEE patent policy, as stated in [Section 6 of the IEEE-SA Standards Board bylaws](http://standards.ieee.org/guides/opman/sect6.html#6.3) <[http://standards.ieee.org/guides/bylaws/sect6-7.html#6](http://127.0.0.1:4664/cache?event_id=757737&schema_id=1&s=5X0vID10lu_E6yrIkWkNd4Wz2H8&q=hancock)> and in *Understanding Patent Issues During IEEE Standards Development* <http://standards.ieee.org/board/pat/faq.pdf> |

# **Data formats for environment-related sensors**

## **Rain sensor**

### **General**

This subclause specifies a sensor data type that describes the amount of rainfall.

### **Syntax**

|  |
| --- |
| "rainSensorData": {  "type": "object",  "properties": {  "value": {  "type": "number"  },  "unit": {  "$ref": "#/definitions/unitType"  }  }  } |

### **Semantics**

Semantics of the rainSensorData:

| *Name* | *Definition* |
| --- | --- |
| rainSensorData | Provides a structure for describing sensor data acquired by a rain sensor. |
| value | Represents the measured value of the amount of rain. |
| unit | Specifies the unit of the value as a reference to a term provided by unitType, default as millimetersperhour. |

### **Examples**

The measured rainfall is 100 millimeters per hour.

|  |
| --- |
| {  "sensedInfoBaseAttributes":{},  "rainSensorData": {  "value": 100,  "unit": "millimetersperhour"  }  } |

## **Insolation sensor**

### **General**

This subclause specifies a sensor data type that describes insolation.

### **Syntax**

|  |
| --- |
| "insolationSensorData": {  "type": "object",  "properties": {  "value": {  "type": "number"  },  "unit": {  "$ref": "#/definitions/unitType"  }  }  } |

### **Semantics**

The semantics of the insolationSensorData:

| *Name* | *Definition* |
| --- | --- |
| insolationSensorData | Provides a structure for describing sensor data acquired by an insolation sensor. |
| value | Represents the measured value of the amount of insolation. |
| unit | Specifies the unit of the value as a reference to a term provided by unitType, default as wattspersquaremeter. |

### **Examples**

The measured insolation is 100 watts per square meter.

|  |
| --- |
| {  "sensedInfoBaseAttributes":{},  "insolationSensorData": {  "value": 100,  "unit": "wattspersquaremeter"  }  } |

## **Soil moisture sensor**

### **General**

This subclause specifies a sensor data type that describes soil moisture.

### **Syntax**

|  |
| --- |
| "soilMoistureSensorData": {  "type": "object",  "properties": {  "value": {  "type": "number"  },  "unit": {  "$ref": "#/definitions/unitType"  }  }  } |

### **Semantics**

The semantics of the soilMoistureSensorData:

| *Name* | *Definition* |
| --- | --- |
| soilMoistureSensorData | Provides a structure for describing sensor data aquired by a soil moisture sensor. |
| value | Represents the measured value of the amount of moisture contained in the soil per unit volume. |
| unit | Specifies the unit of the value as a reference to a term provided by unitType, default as percentage. |

### **Examples**

The measured soil moisture is 1 percent.

|  |
| --- |
| {  "sensedInfoBaseAttributes": {},  "soilMoistureSensorData": {  "value": 1,  "unit": "percentage"  }  } |

## **Tensiometer sensor**

### **General**

This subclause specifies a sensor data type that describes moisture tension in the soil.

### **Syntax**

|  |
| --- |
| "tensiometerSensorData": {  "type": "object",  "properties": {  "value": {  "type": "number"  },  "unit": {  "$ref": "#/definitions/unitType"  }  }  } |

### **Semantics**

The semantics of the tensiometerSensorData:

| *Name* | *Definition* |
| --- | --- |
| tensiometerSensorData | Provides a structure for describing sensor data aquired by a tensiometer sensor. |
| value | Represents the value of moisture tension in the soil. |
| unit | Specifies the unit of the value as a reference to a term provided by unitType, default as kPa. |

### **Examples**

The measured tensiometer sensor is 1kPa.

|  |
| --- |
| {  "sensedInfoBaseAttributes": {},  "tensiometerSensorData": {  "value": 1,  "unit": "kPa"  }  } |

## **Electrical conductivity sensor**

### **General**

This subclause specifies a sensor data type that describes a electrical conductivity.

### **Syntax**

|  |
| --- |
| "electricalConductivitySensorData": {  "type": "object",  "properties": {  "value": {  "type": "number"  },  "unit": {  "$ref": "#/definitions/unitType"  }  }  } |

### **Semantics**

The semantics of the electricalConductivitySensorData:

| *Name* | *Definition* |
| --- | --- |
| electricalConductivitySensorData | Provides a structure for describing sensor data aquired by a electrical conductivity sensor. |
| value | Represents the measured value of electrical conductivity in water based solutions. |
| unit | Specifies the unit of the value as a reference to a term provided by unitType, default as microsiemenspercentimeter. |

### **Examples**

The measured electrical value is 100 microsiemens per centimeter.

|  |
| --- |
| {  "sensedInfoBaseAttributes": {},  "electricalConductivitySensorData": {  "value": 100,  "unit": "microsiemenspercentimeter"  }  } |

## **Acidity sensor**

### **General**

This subclause specifies a sensor data type that describes acidity.

### **Syntax**

|  |
| --- |
| "aciditySensorData": {  "type": "object",  "properties": {  "value": {  "type": "number"  },  "unit": {  "$ref": "#/definitions/unitType"  }  }  } |

### **Semantics**

The semantics of the aciditySensorData:

| *Name* | *Definition* |
| --- | --- |
| aciditySensorData | Provides a structure for describing sensor data aquired by a acidity sensor. |
| value | Represents the measured value of hydrogen ion concentration (acidity) for drainage, soil, etc. |
| unit | Specifies the unit of the value as a reference to a term provided by unitType, default as ph. |

### **Examples**

The measured acidity value is 10.

|  |
| --- |
| {  "sensedInfoBaseAttributes": {},  "aciditySensorData": {  "value": 10,  "unit": "ph"  }  } |