IEEE P802.15

Wireless Personal Area Networks

| Project | IEEE P802.15 Working Group for Wireless Personal Area Networks (WPANs) |
| --- | --- |
| Title | TG6 Proposal Comparison Criteria |
| Date Submitted | Nov 12, 2008 |
| Source | [Arthur Astrin] [Astrin Radio.] [Palo Alto, CA] | Voice: [+1 650 704 2517] Fax: [+1 650 328 7721] E-mail: [astrin@ieee.org] |
| Re: | IEEE 802.15 TG6 Body Area Networks (BAN). |
| Abstract | Compendium of Comparison Criteria for TG6 Proposals. |
| Purpose | When issued this is intended to announce the Call for Proposals and to motivate constructive proposal contributions for BAN standard. |
| Notice | This document has been prepared to assist the IEEE P802.15. It is offered as a basis for discussion and is not binding on the contributing individual(s) or organization(s). The material in this document is subject to change in form and content after further study. The contributor(s) reserve(s) the right to add, amend or withdraw material contained herein. |
| Release | The contributor acknowledges and accepts that this contribution becomes the property of IEEE and may be made publicly available by P802.15. |

# TG6 Proposal Comparison Criteria

Proposals submitted to TG6 body area networks (BAN) need to submit the following parameters for purpose of a fair comparison. The comparisons will be based on:

Meet TG6 PAR (07-0575) purpose:

The purpose of the proposed standard it to provide an international standard for a short range (i.e. about human body range), low power and highly reliable wireless communication for use in close proximity to, or inside, a human body. Data rates, typically up to 10Mbps, will be offered to satisfy an evolutionary set of entertainment and healthcare services. Current PANs do not meet the medical (proximity to human tissue) and relevant communication regulations for some application environments. They also do not support the combination of reliability (QoS), low power, data rate and noninterference required to broadly address the breadth of body area network applications.

Accommodate the TG6 Technical Requirements document (08-0644).

- Regulatory

Compliance to TG6 Regulatory document (08-0034).

- Raw PHY data rate (node to node)

Proposals will be compared on Raw PHY data rates range supported.

- Transmission distance between two nodes

Proposals will be compared on how well they operate at 3 meters distance in proposed wearable and implant BAN channel.

#3: Would it be possible to add more details to this criterion? For example,  “The proponent should indicate the range at which the proposed PHY can meet the target PER requirements (PER ≤ 10%) with a 256 octet payload for a link success probability of 95%. A link success probability of 95% is defined as the PER averaged over the channels that result in the 95% best performance at a given Eb/N0 for a particular channel environment, i.e., the PER performance due to the worst 5% channels at a given Eb/N0 should not be included in the average PER calculation. Note that Eb is computed as the average multi-path signal energy, averaged over the channel realizations for each channel environment. The proposals shall include a plot of the PER for a link success probability of 95% as a function of range, where the range is a function of the Eb/N0 values.”

- Packet error rate (PER)

Proposals will be compared on link PER achieved with a 256 octet PSDU without or with coding.

- Link budget

Proposers should present their link budget for proposed PHY in AWGN channel with proposed frequency band and channelization.

- Power emission level

The power emission level of a proposed PHY transmitter shall satisfy regulations and authority requests including regulations on specific absorption rate (SAR).

- Interference and coexistence

Proposals will be compared on how well they deal with Interference and coexistence issues for both co-channel and adjacent channel interference. Proposers should present the necessary Pd/Pi to meet required PER. Susceptibility of interference from other devices: another BAN device, 802.x devices, cordless phones (2.4 and 5 GHz) and microwaves, ECMA 368 device, etc.

#7: Probably should include the fact that 10 total piconets should be able to operate in the vicinity of one another.

- Security

Proposals will be compared on support of security.

- Reliability

Ability to support reliable and robust communication in BAN operating scenarios and environments.

#9: Isn’t this criterion redundant? What other measures of reliability are we trying to point out?

- Quality of Service (QoS)

Time to associate (join) a node to BAN and delay time of a packet from a sensor to the coordinator (i.e., in addition to the PER noted above).

Capability of providing fast (<1 sec) channel access in emergency situations (alarm messages).

#10: I am not sure how useful the delay time value will be because it is possible to achieve a small delay time at the expense of throughput and efficiency. Therefore, a better wording for this criterion might be “Proponents shall describe their medium access methods”.

This will allow the MAC experts to fairly compare both delay time and throughput/efficiency themselves.

- Scalability

Proposals will be compared on scalability of supported data rate, power consumption, security, QoS, network size, etc.

- MAC transparency

The proposed MAC will be compared on whether they allow direct interface to higher lever and flexible interface with the BAN node PHY layers.

#12: I am not sure what the first half of this sentence is trying to say. Won’t all MACs have an interface to higher layers? We actually don’t specify that in the IEEE do we? Therefore, it might be best to delete the first half of the sentence and rewrite the second of the half of the sentence to ask proponents how they plan to support multiple PHYs (if at all).

- Power Efficiency.

The proposals will be compared on power efficiency and peak and average power consumption.

Can we also ask the proponents to specific their sleep power consumption numbers? This number is important when duty cycling is used to conserve battery life.

- Topology

Proposals will be compared on support of star topology and/or multi-hop links, what is the maximal number of nodes and support for broadcast and/or multicast in the coordinator.

Can we add a criterion that proponents should specify their packet-detect time, i.e., how long it takes to detect the preamble and declare that a packet is on-air?