## Slide 1
Smart Grid Interoperability Standards
  George W. Arnold, Eng.Sc.D.
  National Coordinator for Smart Grid Interoperability
  National Institute of Standards and Technology
  July 13, 2009
Notes: <number>

## Slide 2: The NIST Role
In cooperation with the DoE, NEMA, IEEE, GWAC, and other stakeholders, NIST has “primary responsibility to coordinate development of a framework that includes protocols and model standards for information management to achieve interoperability of smart grid devices and systems…”
Energy Independence and Security Act (EISA) of 2007
Title XIII, Section 1305.
Smart Grid Interoperability Framework

## Slide 3: The Need for Standards is Urgent
Example: Smart Meters
$40 - $50 billion dollar deployment nationwide
Underway now
Rapid technology evolution
Absence of firm standards
Source: Congressional Research Service Report
<number>

## Slide 4
 | Telecom Next Generation Network | Smart Grid
Real-world examples | Verizon FiOS, AT&T Uverse | Xcel Boulder, Colorado
First trials | 2004 | 2008
Standards coordination started | 2003 | 2008
# key standards bodies | 3 | 15
Release 1 standards issued | 2005 | 2009
Release 2 issued | 2008 | Will be issued on rolling basis
# standards documents | ~600 so far | Will be hundreds
Nature of standards | Mostly mix & match of existing standards | Mix & match of existing standards and many new
<number>
Smart Grid Standards Development: A Major Undertaking
Notes: <number>

## Slide 5: Recent Developments…
March 18 – Full time senior executive appointed
Consultations with industry, standards developers, DOE and FERC to develop action plan
April 2 – $1.3 million contract awarded to EPRI to augment NIST staff
April 13 – Action plan announced
April 17 – Webcast with 260 stakeholders; positive response
April 20 – Smart Grid Today article reports: “NIST unveils first steps of unnaturally paced standards effort”
April 28-29 – First Standards Workshop; 430 participants
May 8 – NIST announces recognition of first 16 standards
May 13 – Webcast with 220 state public utility commissioners
May 18 – Leadership Meeting with 60 CEOs and business leaders
May 19-20 Second Standards Workshop; 700 participants
Identified standards needed to realize six priority smart grid applications (including four identified by FERC)
June 18 – EPRI “Report to NIST on the Smart Grid Interoperability Standards Roadmap” released for public comment
<number>

## Slide 6: NIST developed plan after listening to key industry concerns
Open, participative process – 80% of electric grid is owned and operated by private sector
Utilities recognize need for speed, but want a systematic, not ad hoc process
Standards should be developed by private sector standards bodies, with NIST coordination
Standards are necessary but not sufficient – testing and certification regime is essential
<number>

## Slide 7: NIST Three Phase Plan
<number>
PHASE 1
Recognize a set of initial existing consensus standards and develop a roadmap to fill gaps
PHASE 2
Establish public/private Standards Panel to provide ongoing recommendations for new/revised standards to be recognized by NIST
PHASE 3
Testing and Certification Framework
March
September
2009
2010

## Slide 8: Release 1.0 Standards Identified for NIST Interoperability Framework
Following the April 28-29 Smart Grid Interoperability workshop, NIST deemed that sufficient consensus has been achieved on 16 initial standards
On May 18, NIST announced intention to identify these standards in the interoperability framework following 30 day comment period.
NIST’s announcement recognized that some of these standards will require further development and many additional standards will be needed.
NIST will identify additional standards for inclusion on a rolling basis
<number>
Standard | Application
AMI-SEC System Security Requirements | Advanced metering infrastructure (AMI) and Smart Grid end-to-end security
ANSI C12.19/MC1219 | Revenue metering information model
BACnet ANSI ASHRAE 135-2008/ISO 16484-5 | Building automation
DNP3 | Substation and feeder device automation
IEC 60870-6 / TASE.2 | Inter-control center communications
IEC 61850 | Substation automation and protection
IEC 61968/61970 | Application level energy management system interfaces
IEC 62351 Parts 1-8 | Information security for power system control operations
IEEE C37.118 | Phasor measurement unit (PMU) communications
IEEE 1547 | Physical and electrical interconnections between utility and distributed generation (DG)
IEEE 1686-2007 | Security for intelligent electronic devices (IEDs)
NERC CIP 002-009 | Cyber security standards for the bulk power system
NIST Special Publication (SP) 800-53, NIST SP 800-82 | Cyber security standards and guidelines for federal information systems, including those for the bulk power system
Open Automated Demand Response (Open ADR) | Price responsive and direct load control
OpenHAN | Home Area Network device communication, measurement, and control
ZigBee/HomePlug Smart Energy Profile | Home Area Network (HAN) Device Communications and Information Model

## Slide 9: Leadership Meeting May 18
Participants
  Chaired by Secretaries Locke and Chu
  ~ 35 CEOs and senior executives from utilities, manufacturers, IT providers
  ~ 12 CEOs of standards bodies and associations
  ~ 5 state public utility commissioners
  FERC and FCC
Objectives
  Convey Administration expectations
  Describe NIST program and announce initial results
  Engage CEOs in dialog to elicit industry views
  Secure CEO commitment
<number>

## Slide 10: Leadership Perspectives
We need to move faster – it can be done!
  There is a lot more low-hanging fruit to be picked
  Where new standards are needed
    Set aggressive timetables
    Dedicate resources to get the job done
    Think months, not years to develop standards
    The internet process is a model
Consensus does not mean unanimity
  Not every view can be accommodated
  At some point a decision has to be made and we move on
SG investments being made now cannot be ignored
  Standards are just catching up to deployment
<number>

## Slide 11: Leadership Perspectives (cont’d)
Standards need to allow for innovation
  Foundational standards that would be costly to change are most urgently needed
  Performance-based rather than design specifications
  Do not over-specify; allow for new applications and technology change
Open standards are essential
Today’s regulatory assumptions may have to evolve
  Like telecom
  Standards need to allow for rapid technology change
<number>

## Slide 12: We Need A Standards Roadmap
Capabilities
Priorities
Reference Model
Standards
Release Plan
Responsibilities
Governance
Testing and Certification
<number>

## Slide 13: Roadmap Focus Areas
FERC-identified priority applications:
  Demand Response
  Wide-Area Situational Awareness
  Electric Storage
  Electric Transportation
Additional priority applications:
  Advanced Metering Infrastructure
  Distribution Grid, including Distributed Energy Resource Integration
Cross-cutting priorities
  Cybersecurity
  Data networking
<number>

## Slide 14: Smart Grid Conceptual Model
Source: NIST/EPRI Architecture Task Group
<number>
Notes: <number>

## Slide 15: Information Network Architecture
Operation
Market
Nationwide Network
Network A
Network B
Service
Provider
Operation
Generation
Transmission
Distribution
Customer
Generation
Transmission
Customer
Distribution
…
…
…
…
Generation
Market
Service Provider
Distribution
Station
Transmission
Station
Customer Premise
Generation
Distribution
Station
Transmission
Station
Customer Premise
…
…
…
…

## Slide 16: EPRI Report: Key Gaps and Issues
Over 80 candidate existing standards identified
70 Standards gaps and issues identified
Some key action items:
  Understand RF interference issues for unlicensed band communications
  Define Internet Protocol suite profiles for various applications
  Develop common pricing information model
  Develop smart meter software upgradeability standard
  Develop an open access protocol for energy usage information
  Develop an interface to grid for energy storage (in IEEE 1547)
  Develop standard demand response signals
  …
<number>

## Slide 17: President’s Cyberspace Policy Review
…as the United States deploys new Smart Grid technology, the Federal government must ensure that security standards are developed and adopted to avoid creating unexpected opportunities for adversaries to penetrate these systems or conduct large-scale attacks.
<number>
Notes: The Department of Energy should work with the Federal Energy Regulatory Commission to determine whether additional security mandates and procedures should be developed for energy-related industrial control systems.
<number>

## Slide 18: Smart Grid Cyber Security Strategy
Cyber security coordination task group (CSCTG)
  Over 130 participants
  Have established several sub-working groups
    Vulnerability Class analysis
    Bottom-Up assessment
    Use Case analysis
    Standards/requirements assessment
  Weekly telecon
  Separate page on the Smart Grid Twiki
<number>

## Slide 19: Smart Grid Cyber Security Strategy (2)
The strategy…
  Selection of use cases with cyber security considerations
  Performance of a risk assessment of the Smart Grid, including assessing vulnerabilities, threats and impacts
  Development of a security architecture linked to the Smart Grid conceptual architecture
  Identification of cyber security requirements and risk mitigation measures to provide adequate protection
The final product
  A set of recommended cyber security requirements
<number>

## Slide 20: Phase I Next Steps
EPRI report to NIST posted for public comment (June 18)
  http://www.nist.gov/smartgrid
Address comments and include in Draft NIST Roadmap
Third workshop August 3-4, 2009– will focus on SDO roles/responsibilities to fill gaps
NIST Roadmap to be published mid-September
  Leads into Phase II
<number>

## Slide 21: Phase 2 - Standards Panel
Launch Smart Grid Interoperability Standards Panel by Year End 2009
Representation from all stakeholder groups
Administered by private sector organization
RFP in June 2009
Functions:
  Evolve Roadmap
  Recommend new/revised standards for inclusion in NIST interoperability framework
  Monitor implementation
<number>

## Slide 22: Phase 3 - Smart Grid Conformance Testing Framework
Standards Needed but Work Can Begin
Conformance Testing Framework
  NIST to assist in organizing the framework
  Members of eco-system are the ones who will be running this
    Cyber security may be more government lead
Umbrella Organization to Coordinate Conformance Testing
  May be part of the Smart Grid Standards Panel or a new group
  Almost 20 initial standards
  Many other identified after second smart grid workshop
  15 SDOs identified thus far
  May need to prioritize test cases and develop a phased plan
  Does Industry Want a Product Certification Program
  Framework Organization may provide certification coordination

## Slide 23: IEEE 802 can help by
Expediting the development of standards that can be used within the smart grid framework
Developing guidelines for wireless communications for the smart grid
Analyzing interference issues and developing coexistence guidelines for operation in unlicensed bands.
Participating in SDO Workshop in August.
<number>

## Slide 24: A Once In A Lifetime Opportunity!
<number>