## Slide 1
Slide 1
Slide 1
Project: IEEE P802.15 Working Group for Wireless Personal Area Networks (WPANs)
Submission Title: IG DEP Development of Wireless Sensing System for Factory
Date Submitted: March 10, 2015
Source: Hiroshi Kobayashi(Nissan), Ryuji Kohno(YNU/CWC-Nippon)
Contact: Ryuji Kohno(YNU/CWC-Nippon
Voice: :+358-8-553-2849, E-Mail: kohno@ynu.ac.jp
Re: IG DEP Development of Wireless Sensing System for Factory
AbstractDevelopment of Wireless Sensing System for Factory
Purpose: This document has been prepared for response to call for interest(CFI) of IG-DEP(Dependability).
Notice: This document has been prepared to assist the IEEE P802.15. It is offered as a basis for discussion and is not binding on the contributing individual(s) or organization(s). The material in this document is subject to change in form and content after further study. The contributor(s) reserve(s) the right to add, amend or withdraw material contained herein.
Release: The contributor acknowledges and accepts that this contribution becomes the property of IEEE and may be made publicly available by P802.15.
Notes: Jul 12, 2010
Page 1

## Slide 2
IEEE 802.15 IG DEP
Review of Responses to Call for Interest(CFI)
Development of Wireless Sensing System for Factory
Berlin, Germany
March, 2015
Hiroshi Kobayashi, Nissan Automotive

## Slide 3: Agenda
Background
New Type of Equipment Diagnosis System by using wireless sensor devices
Required specification
Future Activity

## Slide 4: Background
Improve OEE
Reduce Cost
Reliability

## Slide 7: Agenda
Background
New Type of Equipment Diagnosis System by using wireless sensor devices
Required specification
Future Activity

## Slide 8: Cost Minimum and High Reliability
Concept for Equipment Diagnosis System
Very sensitive
Good Reliability to detect potential failure
Time Axis
Extend Life Time
Parts Life Time
Real –Time Diagnosis
Maintenance Worker’s job
CBM
R2-CBM
Failure
We need Good Real-Time Diagnosis System
TBM
Cable Disconnection Ratio

## Slide 9
< Conventional Development Procedure >
New approach to develop “Diagnosis system”
Cable Disconnection
Deteriorated Reducers
Failure mode, Failure type
Deteriorated Power Supply
Breakdown time
Sensor
Data Logger
Diagnosis
Logic
Individual system

## Slide 10
Courtesy of Prof. Jay Lee, NSF I/UCRC on Intelligent Maintenance Systems (IMS),
Univ, of Cincinnati
To accelerate Development Speed
We have to consider a new approach to develop!

## Slide 11
< Conventional Development Procedure >
New approach to develop “Diagnosis system”
Cable Disconnection
Deteriorated Reducers
Failure mode, Failure type
Deteriorated Power Supply
Breakdown time
Sensor
Data Logger
Diagnosis
Logic
Individual system
Receiver
PC
Rooter
To cover whole area！
Multi-sensor

## Slide 12
New approach to develop “Diagnosis system”
< Conventional Development Procedure >
Sensor
Data Logger
Diagnosis
Logic
Individual system
Receiver
PC
Multi-sensor
PC
Installation Cost
Restriction of installation
Installation Issues
Reliability of wires

## Slide 13: Agenda
Background
New Type of Equipment Diagnosis System by using wireless sensor devices
Required specification
Future Activity

## Slide 14: Required specification
3 type of Diagnosis System
  Equipment Diagnosis System in Real-time with rea-time feedback
    Real-time measuring
    Judge immediately with a certain threshold level
  Equipment Diagnosis System in Real-time (1)
    Real-time measuring and sending data in real-time
    Judge based on the comparison with the past data
  Equipment Diagnosis System in Real-time (2)
    Real-time measuring and sending data intermittently
    Judge based on the comparison with the past data
A
B
C

## Slide 15: Required specification
3 type of Diagnosis System
  Equipment Diagnosis System in Real-time with rea-time feedback
    Real-time measuring
    Judge immediately with a certain threshold level
  Equipment Diagnosis System in Real-time (1)
    Real-time measuring and sending data in real-time
    Judge based on the comparison with the past data
  Equipment Diagnosis System in Real-time (2)
    Real-time measuring and sending data intermittently
    Judge based on the comparison with the past data
A
B
C

## Slide 16
IMS Sensor

## Slide 17: Required specification
3 type of Diagnosis System
  Equipment Diagnosis System in Real-time with rea-time feedback
    Real-time measuring
    Judge immediately with a certain threshold level
  Equipment Diagnosis System in Real-time (1)
    Real-time measuring and sending data in real-time
    Judge based on the comparison with the past data
  Equipment Diagnosis System in Real-time (2)
    Real-time measuring and sending data intermittently
    Judge based on the comparison with the past data
A
B
C

## Slide 18
IMS Sensor

## Slide 19
< Conventional Development Procedure >
New approach to develop “Diagnosis system”
Cable Disconnection
Deteriorated Reducers
Failure mode, Failure type
Deteriorated Power Supply
Breakdown time
Sensor
Data Logger
Diagnosis
Logic
Individual system
< No Countermeasure >
Receiver
PC
Rooter
Alarm

## Slide 20: Required specification
Specification for Equipment Diagnosis System
  Response
    Real-time measuring function to communicate with receiver in real-time
    Judge immediately with a certain threshold level
  Energy consumption
    In order to prolong a life time of measuring device save energy and have good efficiency regarding communication power * At least 1 year or more
  Bilateral communication ability
    In order to change some parameters in the device
    and give some triggers to start and end measuring from outside
Notes: Intermittent 間欠な

## Slide 21: Required specification
Specification for Equipment Diagnosis System
  4. Distance to communicate with devices
  1) In order to reduce the number of receivers
  device have to have some distance to
  communicate. At least 20m or more
  5. Data transfer speed
  1) This sensor will have multi-sensors. So
  data transfer speed is very inportant.
  6. Communication capability with many sensors
  1) How many sensors can communicate at the same time
  7. Kinds of Sensors
  1) Vibration sensor 2) Thermal sensor
  3) Voltage 4) Current
  5) AE
Notes: Intermittent 間欠な

## Slide 22: Agenda
Background
New Type of Equipment Diagnosis System by using wireless sensor devices
Required specification
Future Activity

## Slide 24: Required specification
The type of Diagnosis System
  Equipment Diagnosis System in Real-time with rea-time feedback
    Real-time measuring
    Judge immediately with a certain threshold level
  Equipment Diagnosis System in Real-time
    Real-time measuring
    Judge based on the comparison with the past data